## Лист1
RAC/RAK
Range | Category | Series / Descriptions | Cap. | In./Out./… | Vendor | Item Number (Oracle) | Refrig.
RAC | Wall | New airHome 800 | 2,5kW | Indoor | JCH-MY | RAK-XJ25RHAE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-XJ25WHAE | R32
|  |  | 2,5kW | Set | - | Set | -
|  |  | 3,5kW | Indoor | JCH-MY | RAK-XJ35RHAE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-XJ35WHAE | R32
|  |  | 3,5kW | Set | - | Set | -
|  |  | 5kW | Indoor | JCH-MY | RAK-XJ50RHAE | R32
|  |  | 5kW | Outdoor | JCH-WH | RAC-XJ50WHAE | R32
|  |  | 5kW | Set | - | Set | -
|  | Wall Nordic | 2,5kW | Indoor | JCH-WH | RAK-25RXE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-25WXEN | R32
|  |  | 2,5kW | Set | - | Set | -
|  |  | 3,5kW | Indoor | JCH-WH | RAK-35RXE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-35WXEN | R32
|  |  | 3,5kW | Set | - | Set | -
|  |  | 5kW | Indoor | JCH-WH | RAK-50RXE | R32
|  |  | 5kW | Outdoor | JCH-WH | RAC-50WXEN | R32
|  |  | 5kW | Set | - | Set | -
|  | New airHome 600 | 1,8kW | Indoor | JCH-WH | RAK-VJ18RHAE | R32
|  |  | 1,8kW | Outdoor | JCH-WH | RAC-VJ18WHAE | R32
|  |  | 1,8kW | Set | - | Set | -
|  |  | 2,5kW | Indoor | JCH-WH | RAK-VJ25RHAE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-VJ25WHAE | R32
|  |  | 2,5kW | Set | - | Set | -
|  |  | 3,5kW | Indoor | JCH-WH | RAK-VJ35RHAE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-VJ35WHAE | R32
|  |  | 3,5kW | Set | - | Set | -
|  |  | 4,2kW | Indoor | JCH-WH | RAK-VJ42RHAE | R32
|  |  | 4,2kW | Outdoor | JCH-WH | RAC-VJ42WHAE | R32
|  |  | 4,2kW | Set | - | Set | -
|  |  | 5kW | Indoor | JCH-WH | RAK-VJ50RHAE | R32
|  |  | 5kW | Outdoor | JCH-WH | RAC-VJ50WHAE | R32
|  |  | 5kW | Set | - | Set | -
|  |  | 6kW | Indoor | JCH-MY | RAK-VJ60RHAE | R32
|  |  | 6kW | Outdoor | JCH-MY | RAC-VJ60WHAE | R32
|  |  | 6kW | Set | - | Set | -
|  |  | 7kW | Indoor | JCH-MY | RAK-VJ70RHAE | R32
|  |  | 7kW | Outdoor | JCH-MY | RAC-VJ70WHAE | R32
|  |  | 7kW | Set | - | Set | -
|  | New airHome 400 | 1,8kW | Indoor | JCH-WH | RAK-DJ18RHAE | R32
|  |  | 1,8kW | Outdoor | JCH-WH | RAC-DJ18WHAE | R32
|  |  | 1,8kW | Set | - | Set | -
|  |  | 2,5kW | Indoor | JCH-WH | RAK-DJ25RHAE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-DJ25WHAE | R32
|  |  | 2,5kW | Set | - | Set | -
|  |  | 3,5kW | Indoor | JCH-WH | RAK-DJ35RHAE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-DJ35WHAE | R32
|  |  | 3,5kW | Set | - | Set | -
|  |  | 5kW | Indoor | JCH-WH | RAK-DJ50RHAE | R32
|  |  | 5kW | Outdoor | JCH-WH | RAC-DJ50WHAE | R32
|  |  | 5kW | Set | - | Set | -
|  |  | 6kW | Indoor | JCH-MY | RAK-DJ60RHAE | R32
|  |  | 6kW | Outdoor | JCH-MY | RAC-DJ60WHAE | R32
|  |  | 6kW | Set | - | Set | -
|  |  | 7kW | Indoor | JCH-MY | RAK-DJ70RHAE | R32
|  |  | 7kW | Outdoor | JCH-MY | RAC-DJ70WHAE | R32
|  |  | 7kW | Set | - | Set | -
| Floor | Floor Hi-End | 2,5kW | Indoor | JCH-WH | RAF-25RXE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-25FXE | R32
|  |  | 2,5kW | Set | - | Set | -
|  | Floor Hi-End | 3,5kW | Indoor | JCH-WH | RAF-35RXE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-35FXE | R32
|  |  | 3,5kW | Set | - | Set | -
|  | Floor Hi-End | 5kW | Indoor | JCH-WH | RAF-50RXE | R32
|  |  | 5kW | Outdoor | JCH-WH | RAC-50FXE | R32
|  |  | 5kW | Set | - | Set | -
| Wall LC | Wall LC | 5kW | Indoor | JCH-MY | RAK-50RPE1 | R32
|  |  | 5kW | Outdoor | JCH-MY | RAC-50NPE | R32
|  |  | 5kW | Set | - | Set | -
|  | Wall LC | 6kW | Indoor | JCH-MY | RAK-60RPE | R32
|  |  | 6kW | Outdoor | JCH-MY | RAC-60NPE | R32
|  |  | 6kW | Set | - | Set | -
|  | Wall LC | 7kW | Indoor | JCH-MY | RAK-70PPD | R32
|  |  | 7kW | Outdoor | JCH-MY | RAC-70NPD | R32
|  |  | 7kW | Set | - | Set | -
| Duct LC | Duct LC | 2,5kW | Indoor | JCH-MY | RAD-25RPE | R32
|  |  | 2,5kW | Outdoor | JCH-WH | RAC-25NPE | R32
|  |  | 2,5kW | Set | - | Set | -
|  | Duct LC | 3,5kW | Indoor | JCH-MY | RAD-35RPE | R32
|  |  | 3,5kW | Outdoor | JCH-WH | RAC-35NPE | R32
|  |  | 3,5kW | Set | - | Set | -
|  | Duct LC | 5kW | Indoor | JCH-MY | RAD-50RPE | R32
|  |  | 5kW | Outdoor | JCH-MY | RAC-50NPE | R32
|  |  | 5kW | Set | - | Set | -
|  | Duct LC | 6kW | Indoor | JCH-MY | RAD-60RPE | R32
|  |  | 6kW | Outdoor | JCH-MY | RAC-60NPE | R32
|  |  | 6kW | Set | - | Set | -
| Duct | Duct LC | 7kW | Indoor | JCH-MY | RAD-70PPD | R32
| LC | Duct LC | 7kW | Outdoor | JCH-MY | RAC-70NPD | R32
| LC | Duct LC | 7kW | Set | - | Set | -
| Cassette | Cassette LC | 2,5kW | Indoor | JCH-ES | RAI-25RPE | R32
| Panel | Cassette LC | - | Panel | JCH-ES | P-AP56NAMS | -
| LC | Cassette LC | 2,5kW | Outdoor | JCH-WH | RAC-25NPE | R32
| LC | Cassette LC | 2,5kW | Set+Panel | - | Set+Panel | -
| Cassette | Cassette LC | 3,5kW | Indoor | JCH-ES | RAI-35RPE | R32
| Panel | Cassette LC | - | Panel | JCH-ES | P-AP56NAMS | -
| LC | Cassette LC | 3,5kW | Outdoor | JCH-WH | RAC-35NPE | R32
| LC | Cassette LC | 3,5kW | Set+Panel | - | Set+Panel | -
| Cassette | Cassette LC | 5kW | Indoor | JCH-ES | RAI-50RPE | R32
| Panel | Cassette LC | - | Panel | JCH-ES | P-AP56NAMS | -
| LC | Cassette LC | 5kW | Outdoor | JCH-MY | RAC-50NPE | R32
| LC | Cassette LC | 5kW | Set+Panel | - | Set+Panel | -
| Cassette LC | Cassette LC | 6kW | Indoor | JCH-ES | RAI-60RPE | R32
|  |  | - | Panel | JCH-ES | P-AP56NAMS | -
|  |  | 6kW | Outdoor | JCH-MY | RAC-60NPE | R32
|  |  | 6kW | Set+Panel | - | Set+Panel | -
| Wall | Wall Hi-End | 1,8kW | Indoor | JCH-WH | RAK-18QXE | R32
|  | Wall Standard | 1,5kW | Indoor | JCH-WH | RAK-15QPE | R32
|  | Wall Entry | 1,5kW | Indoor | JCH-WH | RAK-15QEF | R32
| Duct | Duct LC | 1,8kW | Indoor | JCH-MY | RAD-18QPE | R32
| Wall | Wall Hi-End | 2,5kW | Indoor | JCH-WH | RAK-25RXE | R32
|  |  | 3,5kW | Indoor | JCH-WH | RAK-35RXE | R32
|  |  | 5kW | Indoor | JCH-WH | RAK-50RXE | R32
|  | Wall Standard | 1,8kW | Indoor | JCH-WH | RAK-18RPE | R32
|  |  | 2,5kW | Indoor | JCH-WH | RAK-25RPE | R32
|  |  | 3,5kW | Indoor | JCH-WH | RAK-35RPE | R32
|  |  | 4,2kW | Indoor | JCH-WH | RAK-42RPE | R32
|  |  | 5kW | Indoor | JCH-WH | RAK-50RPE | R32
|  | Wall Entry | 1,8kW | Indoor | JCH-WH | RAK-18REF | R32
|  |  | 2,5kW | Indoor | JCH-WH | RAK-25REF | R32
|  |  | 3,5kW | Indoor | JCH-WH | RAK-35REF | R32
|  |  | 5kW | Indoor | JCH-WH | RAK-50REF | R32
|  | airHome 800 | 1,8kW | Indoor | JCH-MY | RAK-XJ18QHAE | R32
|  | airHome 600 | 1,5kW | Indoor | JCH-WH | RAK-VJ15QHAE | R32
|  | airHome 400 | 1,5kW | Indoor | JCH-WH | RAK-DJ15QHAE | R32
| Floor | airHome Floor | 2,5kW | Indoor | JCH-WH | RAF-XJ25QHAE | R32
|  |  | 3,5kW | Indoor | JCH-WH | RAF-XJ35QHAE | R32
|  |  | 5kW | Indoor | JCH-WH | RAF-XJ50QHAE | R32
| Duct | airHome Ducted | 1,8kW | Indoor | JCH-MY | RAD-DJ18QHAE | R32
|  |  | 2,5kW | Indoor | JCH-MY | RAD-DJ25QHAE | R32
|  |  | 3,5kW | Indoor | JCH-MY | RAD-DJ35QHAE | R32
|  |  | 5kW | Indoor | JCH-MY | RAD-DJ50QHAE | R32
|  |  | 6kW | Indoor | JCH-MY | RAD-DJ60QHAE | R32
|  |  | 7kW | Indoor | JCH-MY | RAD-DJ70QHAE | R32
| Cassette | airHome Cassette | 2,5kW | Indoor | JCH-ES | RAI-VJ25QHAE | R32 | Missing in the HI PARTS program
|  |  | 3,5kW | Indoor | JCH-ES | RAI-VJ35QHAE | R32
|  |  | 5kW | Indoor | JCH-ES | RAI-VJ50QHAE | R32
|  |  | 6kW | Indoor | JCH-ES | RAI-VJ60QHAE | R32
| Multi | airHome Multi Pro | 3,3kW | Outdoor | JCH-MY | RAM-G36N2HAE | R32
| Multi | airHome Multi Pro | 4kW | Outdoor | JCH-MY | RAM-G43N2HAE | R32
| Multi | airHome Multi Pro | 5,3kW | Outdoor | JCH-MY | RAM-G55N2HAE | R32
| Multi | airHome Multi Pro | 5,3kW | Outdoor | JCH-MY | RAM-G55N3HAE | R32
| Multi | airHome Multi Pro | 6,8kW | Outdoor | JCH-MY | RAM-G68N3HAE | R32
| Multi | airHome Multi Pro | 7kW | Outdoor | JCH-MY | RAM-G70N4HAE | R32
| Multi | airHome Multi Pro | 9kW | Outdoor | JCH-MY | RAM-G85N5HAE | R32
| Multi | airHome Multi Pro | 11kW | Outdoor | JCH-WH | RAM-G110N5HAE | R32
| Multi | airHome Multi Pro [Emerge Pro] | 5,3kW | Outdoor | JCH-MY | RAM-G55N2HBE | R32 | Missing in the HI PARTS program
| Multi | airHome Multi | 4kW | Outdoor | JCH-MY | RAM-E40N2HAE | R32
| Multi | airHome Multi | 5,3kW | Outdoor | JCH-MY | RAM-E53N2HAE | R32
| Multi | airHome Multi | 5,3kW | Outdoor | JCH-MY | RAM-E53N3HAE | R32
| Multi | Multi Yutampo | 5,3kW | Outdoor | JCH-MY | RAM-53NYP3E | R32
| Multi | Multi Yutampo | 7kW | Outdoor | JCH-MY | RAM-70NYP4E | R32
| Multi | Multi Yutampo | 9kW | Outdoor | JCH-MY | RAM-90NYP5E | R32
| IAQ | Stainless Pre Filter | - | Accessory | JCH-WH | SPX-SPF8 | -
| IAQ | Stainless Pre Filter | - | Accessory | JCH-WH | SPX-SPF9 | -
| IAQ | Active Carbon Filter | - | Accessory | JCH-WH | SPX-CFH25 | -
| IAQ | Virosense Z1 Filter | - | Accessory | JCH-WH | SPX-VSZ1 | -
| Dry Contact | Card Key Kit / Dry Contact | - | Accessory | JCH-MY | SPX-WDC2 | -
| Dry Contact | Card Key Kit / Dry Contact | - | Accessory | JCH-WH | SPX-WDC3 | -
| Dry Contact | Malfunction & Card Key | - | Accessory | JCH-WH | SPX-WDC5 | -
| Dry Contact | Malfunction & Card Key | - | Accessory | JCH-MY | SPX-WDC6 | -
| Dry Contact | Malfunction only | - | Accessory | JCH-WH | SPX-WDC7 | -
| Dry Contact | ON/OFF status and alarm signal | - | Accessory | JCH-WH | SPX-WDC8 | -
| Control | Color Advanced Wired Remocon | - | Accessory | JCH-WH | SPX-URFG | -
| Control | Wired Remote Control | - | Accessory | JCH-MY | SPX-RCDA | -
| Control | Wired Remote Control | - | Accessory | JCH-MY | SPX-RCDB | -
| Control | Wired Remote Control | - | Accessory | JCH-MY | SPX-RCDA1 | -
| Control | Wired Remote Control | - | Accessory | JCH-MY | SPX-RCDB1 | -
| Control | Color Advanced Wired Remocon | - | Accessory | JCH-WH | SPX-URFG1 | -
| Control | Wireless Remote Control | - | Accessory | JCH-MY | SPX-RCKA1 | -
| Control | Wireless Remote Control | - | Accessory | JCH-WH | SPX-RCKA2 | -
| Control | Wireless Remote Control | - | Accessory | JCH-MY | SPX-RCKA3 | -
| Control | Wireless Remote Control airHome Cassette | - | Accessory | JCH-MY | SPX-RKC800 | -
| Control | Wireless Remote ControlairHome Ducted | - | Accessory | JCH-MY | SPX-RKD800 | -
| Control | Fulldot Wired Remocon | - | Accessory | JCH-MY | SPX-WKT3 | -
| Control | Fulldot Wired Remocon | - | Accessory | JCH-MY | SPX-WKT4 | -
| Wiring | Optional Wiring for Fulldot Wired Remocon (5m) | - | Accessory | JCH-MY | SPX-WKT5M | -
| Wiring | Optional shielded cable for SPX-URFG (5m) | - | Accessory | JCH-WH | SPX-WKT5MS | -
| Wiring | Optional Wiring for Distributor(8m) | - | Accessory | JCH-MY | SPX-WDST8M | -
| Control | Extension wire 58cm for SPX-WFG03 WiFi gateway | - | Accessory | JCH-WH | SPX-WFG58CM | -
| Wiring | Optional Distributor for wired remote controller | - | Accessory | JCH-MY | SPX-DST1 | -
| Gateway | Wifi Interface (airCloud Home) | - | Accessory | JCH-WH | SPX-WFG02 | -
| Gateway | Wifi Interface (airCloud Go for airHome units) | - | Accessory | JCH-WH | SPX-WFG03 | -
| Gateway | Wireless Interface (Hi-Box or Somfy TaHoma) | - | Accessory | OVERKIZ | SPX-TAG01 | -
| Gateway | H-Link adaptor (Multi Outdoor unit) | - | Accessory | JCH-WH | SPX-RAMHLK | -
| Sensor | Gas Leakage Sensor for Floor units | - | Accessory | JCH-WH | SPX-RAFGLS | -
| Sensor | Gas Leakage Sensor for airHome Floor units | - | Accessory | JCH-WH | SPX-RAFGLS-N | -
| Sensor | Remote Thermistor | - | Accessory | JCH-MY | SPX-RTH1 | -
| Sensor | Remote sensor for airHome ducted units | - | Accessory | JCH-MY | SPX-RTH2 | -
| Dry Contact | Malfunction only | - | Accessory | TOCHIGI | HA-S100TSA | -
| Gateway | Hi-Box | - | Accessory | JCH-ES | AHP-SMB-01 | -
| Gateway | Somfy TaHoma V2 | - | Accessory | SOMFY | 1811527 | -
| Gateway | H-Link adaptor (Indoor unit) | - | Accessory | SMZ | PSC 6RAD | -
| Gateway | Modbus gateway for RAC indoor unit | - | Accessory | JCH-ES | AZAI6WSCHT2 | -
| Gateway | KNX gateway for RAC indoor unit | - | Accessory | JCH-ES | AZAI6KNXHT2 | -